## Cyclic
Cyclic
Specimen |  |  |  | Gauge
| pre-test |  |  |  | value | error
0.4905 | in wide |  |  | grid resistance | 120 | 0.6%
0.08 | in thick |  |  |  |  | transverse sensitivity
|  |  |  | gage factor 1 | 1.995 | 2.8 | axial
| necked |  |  | gage factor 2 | 2.015 | 1.2 | perpendicular
0.072 | in thick |  |  | catalog | C2A-13-062LT-120
0.4155 | in wide
|  |  |  | extensometer length | 1.9715 | in
| Width (in) | Thickness (in) | Initial Extensometer Length (in) |  | Grid Resistance (Ohm) | 120 +- 0.60%
Specimen 1 | 0.4905 | 0.0785 | 1.8945 |  | gauge factor (-) | 2.8
Specimen 2 | 0.4905 | 0.08 | 1.9715

## Tensile
Tensile | B3
Specimen |  | Gauge
pre-test | pre-test | extensometer length | 1.8945 | in
0.4905 | in
0.0785 | in
necked
0.436 | in
0.0715 | in